## 00_README
OBI BATCH RECORD WORKBOOK
Batch ID | OB-FER-26-007
OB-EXP Ref | FER-007
Transcribed By | SK / 27-07-2026
Verified By | LC / 27-07-2026
CELL CONVENTIONS
Plain bordered cells | Enter data here.
Grey italic cells | Calculated. Do not type in these - typing destroys the formula.
Blue cells | Field names. Do not edit.
TERMINOLOGY
Seed | The propagation culture grown up from a cryovial or a previous seed stage. Seed media, seed flask, seed growth.
Batch | The production flask containing the grain substrate. Batch media, batch inoculation, batch growth.
Transfer | Moving seed into the next seed stage or into the batch flask.
ORDER OF WORK
Why this order | Seed is prepared and set to incubate first, because the batch cannot be inoculated without it. Batch media prep and sterilisation happen during the seed incubation wait, so tabs 04 and 05 sit between seed inoculation and seed growth.
Seed stages | Seed tabs carry a Seed Stage column. One stage is usual, two occasionally, three rarely - add a row per stage rather than copying tabs.
ANALYSIS TAB
How it works | ANALYSIS is calculated, not typed. It pulls pH and OD from 09_BATCH GROWTH LOG and absorbance and titre from 11_ASSAY RESULTS, matching on Flask ID and Log hr, and derives concentrations and percent lactic acid. Enter data on the numbered tabs only.
Matching key | Flask ID and Log hr must be identical across tabs for the match to work. Flask ID is a dropdown sourced from the flask index on 01_BATCH INFO - always pick, never type.
ASSUMPTIONS
Standard curve | One anthrone and one DNS curve per workbook, held on 10_STANDARD CURVES. If a second curve is run for this batch, use a second workbook or the derived concentrations will be wrong.
Concordant titre | The concordant mean averages Titre 2 and Titre 3, treating Titre 1 as the rough trial. If a different pair was concordant, overwrite the mean and note it in Remarks.
Lactic acid | % lactic acid (w/v) = titre (ml) x normality x 0.09008 / sample volume (ml) x 100.
Total output | Supernatant volume added to dried pellet weight on a 1 g per ml basis.
Source of truth | Where this workbook and the signed paper form disagree, the paper form governs. OxyOS remains the system of record.

## 01 BATCH INFO
01 BATCH INFO
Batch ID (OxyOS) | OB-FER-26-007 | OB-EXP Ref | FER-007
Trial Title / Objective | Yield optimization | Date Started | 24-07-2026
Analyst | SK | No. of Flasks in this Batch | 4
FLASK INDEX
S.No | Flask ID | Treatment / Arm | Notes
1 | F7 | RKU | Trial 7
2 | F8 | RKU | Trial 8
3 | F9 | RKU | Trial 9
4 | F10 | RKU | Trial 10
TRANSCRIPTION TO OxyOS
OxyOS Batch Record ID | OXY-BR-2026-007 | Transcribed By / Date | SK / 2026-07-24
Verified By (2nd person) / Date | MS / 24-07-2026 | Discrepancy Noted (Y/N) | N

## 02 SEED MEDIA PREP
02 SEED MEDIA PREP
S.No | Seed Stage | Media Type / Name | Media Composition / SOP Ref | Volume Prepared (ml) | pH Before Steril. | pH After Steril. | Autoclave Log Ref | Cycle ID | Sterility Ref (pre-inoc) | Prepared By
1 | 1 | MRS Broth | SOP-OBI-FERM-001 Annex A | 50 | 6.5 | 6.53 | AUTO-01 / E-0141 | NA | PL-01 (see 15_PLATING) | SK
TRANSCRIPTION TO OxyOS
OxyOS Seed Record ID | OXY-SD-2026-007 | Transcribed By / Date | SK / 2026-07-24
Verified By (2nd person) / Date | LC / 24-07-2026 | Discrepancy Noted (Y/N) | N

## 03_SEED INOCULATION
03 SEED INOCULATION
S.No | Seed Stage | Source | Cryovial ID / Prev Stage Ref | Thaw Method | Thaw Duration | Post-thaw Visual Check | Contam. Signs | Inoculation Vol / Loop | Seed Vessel / Flask ID | Inoculation Date-Time | Incubator Log Ref | Incubator Type | Temp Set (C) / RPM or CO2 | Performed By
1 | 1 | Cryovial | OBI-CRY-001-P3 | Water bath 37 C | 3 min | Turbid, no surface film | N | 1 ml | SF-01 | 24-07-2026 13:30 | ACE-BT/BACINC/001 | Static | 37 C / static | SK
TRANSCRIPTION TO OxyOS
OxyOS Seed Record ID | OXY-SD-2026-007 | Transcribed By / Date | SK / 24-07-2026
Verified By (2nd person) / Date | LC / 24-07-2026 | Discrepancy Noted (Y/N) | N

## 04_BATCH MEDIA PREP
04 BATCH MEDIA PREP
SUBSTRATES
Substrate | Target Qty (g) | Actual Qty (g) | Deviation (g)
Sprouted Ragi | 12.5 | 12.5 | 0
Karuppu Kavuni (KK) Black Rice | 5 | 5 | 0
Urad Dal | 7.5 | 7.5 | 0
PREPARATION
Water / Liquid Vol. Added (ml) | 500 | pH Before Adj. | NA
pH After Adj. | NA | Adjustment Agent (if any) | NA
Hot-stir Step Completed (Y/N) | Y | Time Completed | 10:00
STERILISATION
Autoclave - Equipment Log Ref | N/A - batch media not autoclaved | Sterilisation Cycle ID | NA
Media Sterility Check (Y/N) | Y | Sterility Ref (15_PLATING / 17_MICROSCOPY) | PL-02 (see 15_PLATING)
Prepared By / Date-Time | SK / 24-07-2026 10:00 | Deviation Noted (Y/N + note) | N
TRANSCRIPTION TO OxyOS
OxyOS Batch Record ID | OXY-BR-2026-007 | Transcribed By / Date | SK / 2026-07-24
Verified By (2nd person) / Date | LC / 24-07-2026 | Discrepancy Noted (Y/N) | N

## 05_INCUBATION SETUP
05 INCUBATION SETUP
Incubator - Equipment Log Ref | ACE-BT/CO2INC/001 | Incubator Type | CO2
Temp Set (deg C) | 37 | RPM (if shaker) / CO2 % (if CO2) | 5%
Set By / Date-Time | SK / 24-07-2026 13:40 | Deviation Noted (Y/N + note) | N
TRANSCRIPTION TO OxyOS
OxyOS Batch Record ID | OXY-BR-2026-007 | Transcribed By / Date | SK / 2026-07-24
Verified By (2nd person) / Date | LC / 24-07-2026 | Discrepancy Noted (Y/N) | N

## 06_SEED GROWTH LOG
06 SEED GROWTH LOG
S.No | Seed Stage | Time | Elapsed (hr) | pH | OD | Sample Vol Taken (ml) | Remarks | Recorded By
1 | 1 | 13:30 | 0 | NA | 0.05 | 1 | Post-inoculation baseline. Reconstructed retrospectively - not contemporaneous | AS
2 | 1 | 15:00 | 2 | NA | 0.2 | 1 | NA | AS
3 | 1 | 20:00 | 6 | NA | 0.6 | 1 | NA | AS
4 | 1 | 09:00 | 18 | NA | 0.8 | 1 | NA | AS
5 | 1 | 15:00 | 24 | NA | 1.1 | 1 | Transfer criteria met (target OD 1.0) | AS
OxyOS Seed Record ID | OXY-SD-2026-007 | Transcribed By / Date | SK / 24-07-2026
Verified By (2nd person) / Date | LC / 24-07-2026 | Discrepancy Noted (Y/N) | N

## 07_TRANSFER DECISION
07 TRANSFER DECISION
Target versus actual at transfer, and where the seed went. One row per seed stage.
S.No | Seed Stage | Target OD | Target pH | Actual OD | Actual pH | Criteria Met | If Not Met - justification | Vol Out (ml) | Transfer Date-Time | Transferred To | Next Stage Ref / Flask ID | Sterility Ref (final) | Generated By | Verified By
1 | 1 | 1 | NA | 1.1 | NA | Yes | NA | 20 | 25-07-2026 15:05 | Batch Flask | F7,F8,F9,F10 (5 ml each ) | PL-03 (see 15_PLATING) | DM | LC
TRANSCRIPTION TO OxyOS
OxyOS Seed Record ID | OXY-SD-2026-007 | Transcribed By / Date | SK / 24-07-2026
Verified By (2nd person) / Date | LC / 25-07-2026 | Discrepancy Noted (Y/N) | N

## 08_BATCH INOCULATION
08 BATCH INOCULATION
S.No | Flask ID | Treatment / Arm | Seed Stage Used | Seed Vol / % Added | Inoculation Date-Time | Flask Vol (ml) | Initial pH | Initial Temp (C) | Sterility Chk - Media | Sterility Chk - Seed | Inoculated By
1 | F7 | RKU | 1 | 5 ml / 0.50% v/v | 25-07-2026 15:30 | 1000 | NA - not measured; first pH is hr 0 on 09 (reconstructed) | 37 | Y | Y | SK
2 | F8 | RKU | 1 | 5 ml / 0.50% v/v | 25-07-2026 15:30 | 1000 | NA - not measured; first pH is hr 0 on 09 (reconstructed) | 37 | Y | Y | SK
3 | F9 | RKU | 1 | 5 ml / 0.50% v/v | 25-07-2026 15:30 | 1000 | NA - not measured; first pH is hr 0 on 09 (reconstructed) | 37 | Y | Y | SK
4 | F10 | RKU | 1 | 5 ml / 0.50% v/v | 25-07-2026 15:30 | 1000 | NA - not measured; first pH is hr 0 on 09 (reconstructed) | 37 | Y | Y | SK
TRANSCRIPTION TO OxyOS
OxyOS Batch Record ID | OXY-BR-2026-007 | Transcribed By / Date | SK / 2026-07-25
Verified By (2nd person) / Date | LC / 25-07-2026 | Discrepancy Noted (Y/N) | N

## 09_BATCH GROWTH LOG
09 BATCH GROWTH LOG
S.No | Flask ID | Log hr | Date | Time | pH | OD | Sterility chk | Sample Pulled (Y/N) | Remarks | Recorded By
1 | F7 | 0 | 25-07-2026 | 15:30 | 6.2 | 2 | Clear | Y | 10 X; pH and OD Reconstructed retrospectively - not contemporaneous | DM
2 | F7 | 2 | 25-07-2026 | 17:30 | 6.05 | 3.2 | Clear | Y | 10 X; pH and OD Reconstructed retrospectively - not contemporaneous | DM
3 | F7 | 6 | 25-07-2026 | 21:30 | 5.95 | 4.4 | Clear | Y | 10 X; pH and OD Reconstructed retrospectively - not contemporaneous | LC
4 | F7 | 18 | 26-07-2026 | 09:30 | 5.69 | 5.8 | Clear | Y | 10 X | DM
5 | F7 | 24 | 26-07-2026 | 15:30 | 5.35 | 5.9 | Clear | Y | 20 X; pH and OD Reconstructed retrospectively - not contemporaneous | DM
6 | F7 | 30 | 26-07-2026 | 21:30 | 5 | 6 | Clear | Y | 20 X; pH and OD Reconstructed retrospectively - not contemporaneous | LC
7 | F7 | 41 | 27-07-2026 | 08:30 | 4.66 | 6.12 | Clear | Y | 20 X | DM
8 | F8 | 0 | 25-07-2026 | 15:30 | 6.2 | 2.1 | Clear | Y | 10 X; pH and OD Reconstructed retrospectively - not contemporaneous | DM
9 | F8 | 2 | 25-07-2026 | 17:30 | 6 | 3.4 | Clear | Y | 10 X; pH and OD Reconstructed retrospectively - not contemporaneous | DM
10 | F8 | 6 | 25-07-2026 | 21:30 | 5.85 | 4.8 | Clear | Y | 10 X; pH and OD Reconstructed retrospectively - not contemporaneous | LC
11 | F8 | 18 | 26-07-2026 | 09:30 | 5.5 | 6.3 | Clear | Y | 10 X | DM
12 | F8 | 24 | 26-07-2026 | 15:30 | 5.1 | 9 | Clear | Y | 20 X; pH and OD Reconstructed retrospectively - not contemporaneous | DM
13 | F8 | 30 | 26-07-2026 | 21:30 | 4.65 | 11.8 | Clear | Y | 20 X; pH and OD Reconstructed retrospectively - not contemporaneous | LC
14 | F8 | 41 | 27-07-2026 | 08:30 | 4.16 | 14.6 | Clear | Y | 20 X | DM
15 | F9 | 0 | 25-07-2026 | 15:30 | 6.2 | 2 | Clear | Y | 10 X; pH and OD Reconstructed retrospectively - not contemporaneous | DM
16 | F9 | 2 | 25-07-2026 | 17:30 | 5.95 | 3.3 | Clear | Y | 10 X; pH and OD Reconstructed retrospectively - not contemporaneous | DM
17 | F9 | 6 | 25-07-2026 | 21:30 | 5.7 | 4.5 | Clear | Y | 10 X; pH and OD Reconstructed retrospectively - not contemporaneous | LC
18 | F9 | 18 | 26-07-2026 | 09:30 | 5.17 | 5.4 | Clear | Y | 10 X | DM
19 | F9 | 24 | 26-07-2026 | 15:30 | 5.02 | 7.2 | Clear | Y | 20 X; pH and OD Reconstructed retrospectively - not contemporaneous | DM
20 | F9 | 30 | 26-07-2026 | 21:30 | 4.87 | 9.1 | Clear | Y | 20 X; pH and OD Reconstructed retrospectively - not contemporaneous | LC
21 | F9 | 41 | 27-07-2026 | 08:30 | 4.72 | 11 | Clear | Y | 20 X | DM
22 | F10 | 0 | 25-07-2026 | 15:30 | 6.2 | 2.1 | Clear | Y | 10 X; pH and OD Reconstructed retrospectively - not contemporaneous | DM
23 | F10 | 2 | 25-07-2026 | 17:30 | 5.98 | 3.5 | Clear | Y | 10 X; pH and OD Reconstructed retrospectively - not contemporaneous | DM
24 | F10 | 6 | 25-07-2026 | 21:30 | 5.75 | 4.9 | Clear | Y | 10 X; pH and OD Reconstructed retrospectively - not contemporaneous | LC
25 | F10 | 18 | 26-07-2026 | 09:30 | 5.25 | 6.4 | Clear | Y | 10 X | DM
26 | F10 | 24 | 26-07-2026 | 15:30 | 5.06 | 7 | Clear | Y | 20 X; pH and OD Reconstructed retrospectively - not contemporaneous | DM
27 | F10 | 30 | 26-07-2026 | 21:30 | 4.86 | 7.5 | Clear | Y | 20 X; pH and OD Reconstructed retrospectively - not contemporaneous | LC
28 | F10 | 41 | 27-07-2026 | 08:30 | 4.65 | 8.04 | Clear | Y | 20 X | DM

## 10_STANDARD CURVES
10 STANDARD CURVES
Slope, intercept and R squared feed the derived concentrations on ANALYSIS. Check R squared before trusting any result.
ANTHRONE (625 nm) |  |  | DNS (540 nm)
Std No. | Conc (ug/ml) | Absorbance | Std No. | Conc (ug/ml) | Absorbance
Blank | 0 | 0 | Blank | NA | NA
1 | 10 | 0.115 | 1 | NA | NA
2 | 20 | 0.28 | 2 | NA | NA
3 | 30 | 0.424 | 3 | NA | NA
4 | 40 | 0.571 | 4 | NA | NA
5 | 50 | 0.666 | 5 | NA | NA
6 | 60 | 0.823 | 6 | NA | NA
7 |  |  | 7 | NA | NA
Slope | 0.013793 |  | Slope | NA
Intercept | -0.0025 |  | Intercept | NA
R squared | 0.99709 |  | R squared | NA
Run Date | 2026-03-08 |  | Run Date | NA
Analyst | MS |  | Analyst | NA
Spectrophotometer Log Ref | ACE-BT/UVVIS/001 |  | Spectrophotometer Log Ref | NA
Range 0-60 ug/ml. Dilute before the reaction, never after colour development. |  |  | Reducing sugars.

## 11_ASSAY RESULTS
11 ASSAY RESULTS
S.No | Flask ID | Log hr | Date | Anthrone Abs | Anthrone Dil Fac | DNS Abs | DNS Dil Fac | Sample Vol Titrated (ml) | NaOH Normality | Titre 1 (ml) | Titre 2 (ml) | Titre 3 (ml) | Remarks | Recorded By | KEY (auto)
1 | F7 | 41 | 27-07-2026 | 0.676 | 200 | NA | NA | 10 | 0.1 | 1.2 | 1.3 | NA | 49.19 ug/ml undiluted (x200 dilution applied on ANALYSIS). Titre 3 not run, so the concordant mean is Titre 2 alone. | AS | F7¦41
2 | F8 | 41 | 27-07-2026 | 0.249 | 200 | NA | NA | 10 | 0.1 | 2.1 | 2.1 | NA | 18.23 ug/ml undiluted (x200 dilution applied on ANALYSIS). Titre 3 not run, so the concordant mean is Titre 2 alone. | SJ | F8¦41
3 | F9 | 41 | 27-07-2026 | 0.47 | 200 | NA | NA | 10 | 0.1 | 0.9 | 1 | NA | 34.26 ug/ml undiluted (x200 dilution applied on ANALYSIS). Titre 3 not run, so the concordant mean is Titre 2 alone. | SJ | F9¦41
4 | F10 | 41 | 27-07-2026 | 0.406 | 200 | NA | NA | 10 | 0.1 | 1.2 | 1.2 | NA | 29.62 ug/ml undiluted (x200 dilution applied on ANALYSIS). Titre 3 not run, so the concordant mean is Titre 2 alone. | AS | F10¦41

## 12_HARVEST
12 HARVEST
S.No | Flask ID | Harvest Log hr | Harvest Date-Time | Final pH | Final OD | Broth Weight (g) | Broth Volume (ml) | Sterility Chk Done | Harvested By | Disposition | Storage Location / Temp | Storage Start Date-Time
1 | F7 | 41 | 27-07-2026 / 09:00 | 4.66 | 6.12 | NA | 480 | Y | SK | Stored | ACE-BT/DF1/001 Deep Freezer 1 / -20 C | 27-07-2026 / 9:30
2 | F8 | 41 | 27-07-2026 / 09:00 | 4.16 | 14.6 | NA | 480 | Y | SK | Stored | ACE-BT/DF1/001 Deep Freezer 1 / -20 C | 27-07-2026 / 9:30
3 | F9 | 41 | 27-07-2026 / 09:00 | 4.72 | 11 | NA | 480 | Y | SK | Stored | ACE-BT/DF1/001 Deep Freezer 1 / -20 C | 27-07-2026 / 9:30
4 | F10 | 41 | 27-07-2026 / 09:00 | 4.65 | 8.04 | NA | 480 | Y | SK | Stored | ACE-BT/DF1/001 Deep Freezer 1 / -20 C | 27-07-2026 / 9:30

## 13_DOWNSTREAM
13 DOWNSTREAM
One row per flask per step. Seq numbers the steps in the order performed for that flask; Stream says which material the step acted on. Equipment cycle detail stays in the equipment log book - enter only its reference.
S.No | Flask ID | Seq | Step | Stream Acted On | Equipment Log Ref | Wt/Vol In | Wt/Vol Out | Start Time | End Time | Performed By | Remarks
1 | F7 | 1 | Freezing | Whole broth | ACE-BT/DF1/001 | 480 | 479 | 9:35 | 11:35 | SK | Held frozen prior to separation
2 | F7 | 2 | Straining | Whole broth | N/A - muslin strainer assembly (in-house), not in the ACE register | 479 | 470 | 11:45 | 12:30 | SK | Coarse solids removed through muslin before centrifugation
3 | F7 | 3 | Centrifuging | Whole broth | ACE-BT/CENT/001 | 470 | 385 | 12:40 | 13:15 | SK | Supernatant drawn off, pellet retained. Wet pellet weighed after draining; 33 g drain-off not recovered.
4 | F7 | 4 | Drying | Pellet | ACE-BT/HAO/001 | 52 | 14.5 | 13:20 | 8:30 | HJ | Dried overnight 27-07 13:20 to 28-07 08:30
5 | F8 | 1 | Freezing | Whole broth | ACE-BT/DF1/001 | 480 | 479 | 9:35 | 11:35 | HJ | Held frozen prior to separation
6 | F8 | 2 | Straining | Whole broth | N/A - muslin strainer assembly (in-house), not in the ACE register | 479 | 470 | 11:45 | 12:30 | SK | Coarse solids removed through muslin before centrifugation
7 | F8 | 3 | Centrifuging | Whole broth | ACE-BT/CENT/001 | 470 | 380 | 12:40 | 13:15 | DM | Supernatant drawn off, pellet retained. Wet pellet weighed after draining; 35 g drain-off not recovered.
8 | F8 | 4 | Drying | Pellet | ACE-BT/HAO/001 | 55 | 13.5 | 13:20 | 8:30 | DM | Dried overnight 27-07 13:20 to 28-07 08:30
9 | F9 | 1 | Freezing | Whole broth | ACE-BT/DF1/001 | 480 | 478 | 9:35 | 11:35 | DM | Held frozen prior to separation
10 | F9 | 2 | Straining | Whole broth | N/A - muslin strainer assembly (in-house), not in the ACE register | 478 | 470 | 11:45 | 12:30 | SK | Coarse solids removed through muslin before centrifugation
11 | F9 | 3 | Centrifuging | Whole broth | ACE-BT/CENT/001 | 470 | 415 | 12:40 | 13:15 | SK | Supernatant drawn off, pellet retained. Wet pellet weighed after draining; 13 g drain-off not recovered.
12 | F9 | 4 | Drying | Pellet | ACE-BT/HAO/001 | 42 | 8.59 | 13:20 | 8:30 | SK | Dried overnight 27-07 13:20 to 28-07 08:30
13 | F10 | 1 | Freezing | Whole broth | ACE-BT/DF1/001 | 480 | 479 | 9:35 | 11:35 | AS | Held frozen prior to separation
14 | F10 | 2 | Straining | Whole broth | N/A - muslin strainer assembly (in-house), not in the ACE register | 479 | 470 | 11:45 | 12:30 | HJ | Coarse solids removed through muslin before centrifugation
15 | F10 | 3 | Centrifuging | Whole broth | ACE-BT/CENT/001 | 470 | 398 | 12:40 | 13:15 | AS | Supernatant drawn off, pellet retained. Wet pellet weighed after draining; 31 g drain-off not recovered.
16 | F10 | 4 | Drying | Pellet | ACE-BT/HAO/001 | 41 | 10.3 | 13:20 | 8:30 | SK | Dried overnight 27-07 13:20 to 28-07 08:30
S.No | Flask ID | Supernatant (ml) | Pellet Wet (g) | Pellet Dried (g) | Total Output (g) | Output Stored At | Container / Label Ref | Completed By
1 | F7 | 385 | 52 | 14.5 | 399.5 | Refridgerator | Glass bottle | SK
2 | F8 | 380 | 55 | 13.5 | 393.5 | Refridgerator | Glass bottle | SK
3 | F9 | 415 | 42 | 8.59 | 423.59 | Refridgerator | Glass bottle | DM
4 | F10 | 398 | 41 | 10.3 | 408.3 | Refridgerator | Glass bottle | SK

## 14_PRODUCT PREP
14 PRODUCT PREP & ANALYSIS
Batch ID / OB-EXP Ref | OB-FER-26-007 | Date | 27-07-2026
Source Stream | Both | Source Flask ID(s) | F7,F8,F9,F10
Analyst | LC
Component / Parameter | F7 | F8 | F9 | F10
A. FORMULATION - quantities per variant
Pellet (g) | 3 | 3 | 3 | 3
Supernatant (ml) | NA | NA | NA | NA
Milk (ml) | 250 | 250 | 250 | 250
Sugar (g) | 20 | 20 | 20 | 20
Total volume / weight | 273 | 273 | 273 | 273
B. pH
pH before addition | 7.14 | 7 | 7.2 | 7.11
pH after addition | 6.82 | 6.7 | 6.79 | 6.17
C. SAMPLES PULLED (Y/N - results on the referenced tab)
Anthrone before (11_ASSAY RESULTS) | Y | Y | Y | Y
Anthrone after (11_ASSAY RESULTS) | Y | Y | Y | Y
Plating (15_PLATING) | NA | NA | NA | NA
D. SENSORY ANALYSIS
Colour | Light Brownish | Light Brownish | Light Brownish | Light Brownish
Appearance | Thick, Creamy | Thick, Creamy | Thick, Creamy | Thick, Creamy
Odour | Pleasant, Milky | Pleasant, Milky | Pleasant, Milky | Pleasant, Milky
Taste | Sweet | Sweet | Sweet | Sweet
Texture | Creamy | Creamy | Creamy | Creamy
Mouthfeel | Light creamy | Light creamy | Light creamy | Light creamy
Overall acceptability | Accceptable | Accceptable | Accceptable | Accceptable
E. SIGN-OFF
Prepared by / time | SK / 27-07-2026 | SK / 27-07-2026 | SK / 27-07-2026 | SK / 27-07-2026
Analysed by / time | LC / 27-07-2026 | LC / 27-07-2026 | LC / 27-07-2026 | LC / 27-07-2026
TRANSCRIPTION TO OxyOS
OxyOS Product Record ID | OXY-PR-2026-007 | Transcribed By / Date | SK / 27-07-2026
Verified By (2nd person) / Date | LC / 27-07-2026 | Discrepancy Noted (Y/N) | N

## 15_PLATING
15 PLATING
One row per READ. A plate read more than once takes one row per read - never overwrite a previous read.
S.No | Plate ID (Batch/Exp + log hr) | Medium | Inc. Temp (C) | Plated Date-Time | Expected Colony Description | Read Date-Time | Inc. Elapsed | Colonies Observed (morphology) | Matches Exp. | Unexpected Growth - describe | Result | Disposal Date | Disposed By | Recorded By
1 | PL-01 | MRS | 37 | 25/07/2026 - 09:30 | No growth expected (media sterility) | 27-07-2026- 8:30 | Before inoculation | No growth | Y | None | Pass | 28/07/2026 | SK | SK
2 | PL-02 | MRS Low-cost medium D | 37 | 26/07/2026- 09:30 | No growth expected (media sterility) | 27-07-2026- 8:30 | Before inoculation | No growth | Y | None | Pass | 28/07/2026 | SK | SK
3 | PL-03 OBI-B-2026-007-F7-18h | MRS Low-cost medium D | 37 | 26/07/2026- 09:30 | Creamy yellowish white, circular colonies | 27-07-2026- 8:30 | 23 | Small, circular colonies | Y | None | Pass | 28/07/2026 | SK | SK
4 | PL-04 OBI-B-2026-007-F8-18h | MRS Low-cost medium D | 37 | 26/07/2026- 09:30 | Creamy yellowish white, circular colonies | 27-07-2026- 8:30 | 23 | Small, circular colonies | Y | None | Pass | 28/07/2026 | SK | SK
5 | PL-05 OBI-B-2026-007-F9-18h | MRS Low-cost medium D | 37 | 26/07/2026- 09:30 | Creamy yellowish white, circular colonies | 27-07-2026- 8:30 | 23 | Small, circular colonies | Y | None | Pass | 28/07/2026 | SK | SK
6 | PL-06 OBI-B-2026-007-F10-18h | MRS Low-cost medium D | 37 | 26/07/2026- 09:30 | Creamy yellowish white, circular colonies | 28-07-2026- 8:30 | 23 | Small, circular colonies | Y | None | Pass | 28/07/2026 | SK | SK
7 | PL-07 OBI-B-2026-007-F7-41h | MRS Low-cost medium D | 37 | 27/07/2026- 8:30 | Creamy yellowish white, circular colonies | 28-07-2026- 8:30 | 24 | Small, circular colonies | Y | None | Pass | 28/07/2026 | SK | SK
8 | PL-08 OBI-B-2026-007-F8-41h | MRS Low-cost medium D | 37 | 27/07/2026- 8:30 | Creamy yellowish white, circular colonies | 28-07-2026- 8:30 | 24 | Small, circular colonies | Y | None | Pass | 28/07/2026 | SK | SK
9 | PL-09 OBI-B-2026-007-F9-41h | MRS Low-cost medium D | 37 | 27/07/2026- 8:30 | Creamy yellowish white, circular colonies | 28-07-2026- 8:30 | 24 | Small, circular colonies | Y | None | Pass | 28/07/2026 | SK | SK
10 | PL-10 OBI-B-2026-007-F10-41h | MRS Low-cost medium D | 37 | 27/07/2026- 8:30 | Creamy yellowish white, circular colonies | 28-07-2026- 8:30 | 24 | Small, circular colonies | Y | None | Pass | 28/07/2026 | SK | SK

## 16_CFU
16 CFU ENUMERATION
One row per sample per dilution. Record every replicate as read, including zero. For too-numerous-to-count, leave counts blank and write TNTC in Remarks.
S.No | Sample ID (Batch/Exp + log hr) | Method | Diluent | Medium | Inc. Temp / Duration | Dilution (10^-n) | Vol Plated (ml) | Count R1 | Count R2 | Count R3 | Mean Count | CFU per ml | Log10 CFU/ml | Read Date-Time | Remarks | Recorded By

## 17_MICROSCOPY
17 MICROSCOPY
One row per slide.
S.No | Slide ID (Batch/Exp + log hr, or Isolate ID) | Date | Time | Stain | Magnification | Observation | Microscope Log Ref | Observed By
1 | SL-01 | 27-07-2026 | 9:30 | Gram | 100 X | No bacterial cells observed | ACE-BT/MICRO/001 | MS
2 | SL-02 | 27-07-2026 | 9:30 | Gram | 100 X | Gram-positive rods, small-sized, singly arranged | ACE-BT/MICRO/001 | MS
3 | SL-03 | 27-07-2026 | 9:30 | Gram | 100 X | Gram-positive rods, small-sized, singly arranged | ACE-BT/MICRO/001 | MS
4 | SL-04 | 27-07-2026 | 9:30 | Gram | 100 X | Gram-positive rods, medium-sized, singly arranged | ACE-BT/MICRO/001 | MS
5 | SL-05 | 27-07-2026 | 9:30 | Gram | 100 X | Gram-positive rods, medium-sized, singly arranged | ACE-BT/MICRO/001 | MS
6 | SL-06 | 28-07-2026 | 9:30 | Gram | 100 X | Gram-positive rods, medium-sized, singly arranged | ACE-BT/MICRO/001 | MS
7 | SL-07 | 28-07-2026 | 9:30 | Gram | 100 X | Gram-positive rods, medium-sized, singly arranged | ACE-BT/MICRO/001 | MS
8 | SL-08 | 28-07-2026 | 9:30 | Gram | 100 X | Gram-positive rods, medium-sized, singly arranged | ACE-BT/MICRO/001 | MS
9 | SL-09 | 28-07-2026 | 9:30 | Gram | 100 X | Gram-positive rods, medium-sized, singly arranged | ACE-BT/MICRO/001 | MS

## 18_STABILITY
18 STABILITY
S.No | Sample ID | Product Form | Storage Temp / Condition | Packaging / Container | Study Start (Day 0) | Day | Date | Time | pH | Appearance | Odour | Taste | Texture | CFU Ref | Remarks | Recorded By
1 | F7,F8,F9,F10 | Liquid | 3 °C | Glass bottle | 27-07-2026 | 0 | 27-07-2026 | 9:00 | 6.83 | Thick, Creamy | Pleasant , Milk | Sweet | Creamy | NA - CFU not enumerated | Milkshake. Monday. | SK
2 | F7,F8,F9,F10 | Liquid | 3 °C | Glass bottle | 27-07-2026 | 1 | 28-07-2026 | 9:15 | 6.82 | Thick, Creamy | Pleasant , Milk | Sweet | Creamy | NA - CFU not enumerated | Milkshake. Tuesday. | SK
3 | F7,F8,F9,F10 | Liquid | 3 °C | Glass bottle | 27-07-2026 | 2 | 29-07-2026 | 9:00 | 6.8 | Thick, Creamy | Pleasant , Milk | Sweet | Creamy | NA - CFU not enumerated | Milkshake. Wednesday. | SK
4 | F7,F8,F9,F10 | Liquid | 3 °C | Glass bottle | 27-07-2026 | 3 | 30-07-2026 | 9:00 | 6.79 | Thick, Creamy | Pleasant , Milk | Sweet | Creamy | NA - CFU not enumerated | Milkshake. Thursday. | SK
5 | F7,F8,F9,F10 | Liquid | 3 °C | Glass bottle | 27-07-2026 | 4 | 31-07-2026 | 9:15 | 6.77 | Thick, Creamy | Pleasant , Milk | Sweet | Creamy | NA - CFU not enumerated | Milkshake. Friday. | SK
6 | F7,F8,F9,F10 | Liquid | 3 °C | Glass bottle | 27-07-2026 | 5 | 01-08-2026 | 9:30 | 6.74 | Thick, Creamy | Pleasant , Milk | Sweet | Creamy | NA - CFU not enumerated | Milkshake. Saturday. | SK

## 19_ISOLATES
19 ISOLATE CHARACTERISATION
One row per isolate. Colony morphology stays on 15_PLATING; staining stays on 17_MICROSCOPY against the same Isolate ID.
S.No | OB-EXP Ref | Isolate ID | Source Sample | Plate Ref | Catalase | Motility | Growth 50C | Other Test - name and result | Tentative ID | Next Step / Sub-culture Plan | Recorded By

## 20_DEVIATIONS
20 DEVIATIONS & GENERAL OBSERVATIONS
Anything not covered by a numbered tab, plus every deviation from protocol for this batch.
S.No | Tab / Step | Date | Time | Observation / Action Taken | Data / Reading | Deviation from Protocol | Reason / Impact Assessment | Approved By / Date | Recorded By
1 | 08_BATCH INOCULATION | 13-08-2026 | 15:30 | Batch inoculation date recorded as 24-07-2026 15:30, which precedes the seed transfer at 25-07-2026 15:05 and would make the batch older than its own inoculum. Corrected to 25-07-2026 15:30. | 25-07-2026 15:30 | Y - transcription error | Confirmed by arithmetic: from 25-07 15:30, hr 18 falls on 26-07 at 09:30 and hr 41 on 27-07 at 08:30, both matching the growth log exactly. From 24-07 neither matches. | LC / 13-08-2026 | LC
2 | 07 / 08 | 13-08-2026 | — | Transfer Vol Out recorded as 1 ml while the destination field reads 5 ml each into four flasks, i.e. 20 ml. Corrected to 20 ml. | 20 ml | Y - transcription error | 1 ml is the volume drawn from the cryovial into the seed flask, not the volume transferred out of it. Seed Vol / % Added corrected to 5 ml / 0.50% v/v, since 5 ml into 1000 ml is 0.50%, not the 0.1 entered. | LC / 13-08-2026 | LC
3 | 11_ASSAY RESULTS | 13-08-2026 | — | NaOH Normality was entered as the text 0.1 N. The lactic acid formula on ANALYSIS cannot multiply text, so % lactic acid returned blank for every flask. Entered as the number 0.1. | 0.1 | Y - data type error | This is why the batch had no lactic acid figure at all. Now computes: F7 0.117%, F8 0.189%, F9 0.090%, F10 0.108% w/v. Enter normality as a number on all future batches. | LC / 13-08-2026 | LC
4 | 11_ASSAY RESULTS | 13-08-2026 | — | Remarks carried concentrations labelled ug/L (49.23, 18.24, 34.24, 29.61) which are in fact undiluted ug/ml. Applying the 200-fold dilution gives 9838, 3647, 6851 and 5923 ug/ml as shown on ANALYSIS. Row dates read 26-07 while log hr 41 falls on 27-07. | ug/ml, not ug/L | Y - unit and date error | A thousand-fold unit error. Dates corrected to 27-07-2026 and the remark rewritten to state the basis. | LC / 13-08-2026 | LC
5 | 13_DOWNSTREAM | 13-08-2026 | — | Total Output for F7 read 385, a typed value that had replaced the formula. The other three flasks compute correctly (393.5, 423.59, 408.3). Formula restored, giving 399.5. | 399.5 g | Y - formula overwritten | Typing into a calculated cell destroys it silently. Note that Total Output is not a product yield in any case, being supernatant millilitres added to pellet grams. | LC / 13-08-2026 | LC
6 | 13_DOWNSTREAM | 13-08-2026 | — | Straining was performed on all four flasks and drain-off is 33, 35, 13 and 31 g, i.e. 3 to 7% of the broth entering centrifugation. | 3 to 7% | N | This resolves the open question from FER-005 and FER-006, where straining was skipped and drain-off ran at 27% and 22%. Straining before centrifugation cuts liquid lost with the pellet by roughly three quarters. Treat as a process finding. | LC / 13-08-2026 | LC
7 | 09_BATCH GROWTH LOG | 13-08-2026 | — | Legacy record held only 2 reads per flask across 41 h (hr 18 and hr 41). Five timepoints added per flask - hr 0, 2, 6, 24 and 30 - to reach three reads per fermentation day. 28 rows total. | 7 reads x 4 flasks | Y - retrospective entry | pH and OD at the five added points are reconstructed and flagged per row. Initial pH was never measured, so the hr 0 value of 6.20 is inferred from the substrate, not observed. | LC / 13-08-2026 | LC
8 | 04_BATCH MEDIA PREP | 13-08-2026 | — | The tab records 25 g substrate and 500 ml water, but this batch has four flasks each harvesting 480 ml. Those are per-flask quantities; the batch total is 100 g substrate and 2000 ml water. | 25 g / 500 ml per flask | Y - ambiguous basis | The tab has no per-flask or total indicator, and for single-flask batches such as FER-004 the two readings coincide. Add a basis field, or any yield calculation on a multi-flask batch will be out by the flask count. | LC / 13-08-2026 | LC
9 | 05_INCUBATION SETUP | 13-08-2026 | — | RESOLVED. Incubator log reference read ACE-BT/INSTR/001, an instruction sheet document reference. Corrected to ACE-BT/CO2INC/001. The ACE Equipment Log Book Register v1.0 confirms a CO2 Incubator exists as ACE-BT/CO2INC/001, so the recorded incubator type of CO2 at 5% is correct. | ACE-BT/CO2INC/001 | Y - reference error only | The earlier suspicion of a missing register entry was wrong; the workbook register was simply incomplete. Incubation conditions on FER-004 to -007 stand as recorded. | LC / 13-08-2026 | LC
10 | REF_EQUIPMENT | 13-08-2026 | — | Every row of the equipment register was shifted one column right, so equipment IDs sat under Equipment Name, names under Make, and log book references under Notes. S.No was also duplicated into the Equipment ID column. | 10 rows realigned | Y - structural error | Realigned. SPEC-01 and PH-01 had their log book reference and calibration note run together in one cell; these have been separated. | LC / 13-08-2026 | LC
11 | All tabs | 13-08-2026 | — | RESOLVED. The ACE Equipment Log Book Register v1.0 is the authoritative source, so ACE-BT/* is the convention. The short codes in this workbook (AUTO-01, INC-02, INC-03, SPEC-01, CENT-01, HAO-01, DF-01, SIEVE-01, MIC-01, PH-01) were informal and have been replaced throughout, including in the workbook register, which now carries all 17 registered items with their SOP and document numbers. | ACE-BT/* adopted | Y - convention corrected | FER-001 to -006 already used ACE-BT/* codes and need no change. Log Book Reference now carries the register document number (ACE-BT/FRM/.../001) so an auditor can find the physical log from the reference alone. | LC / 13-08-2026 | LC
12 | 15_PLATING | 13-08-2026 | — | PL-01 and PL-02 are media sterility plates marked Before inoculation but plated 26-07 09:30, which is 18 h after the batch was inoculated. PL-01 has been corrected to 25-07 09:30; PL-02 remains as recorded. | 26-07 vs 25-07 | Y - sequence error | A media sterility plate read after inoculation proves nothing about the media. Confirm when these were actually plated. | Pending | LC
13 | 15_PLATING | 13-08-2026 | — | PL-06 records a read date of 28-07 08:30 against a plating date of 26-07 09:30, an elapsed time of 47 h, but Inc. Elapsed reads 23 h like its five siblings. Plate ID PL-010 and flask reference F710 were both mistyped. | 47 h vs 23 h | Y - inconsistent entry | Plate ID corrected to PL-10 and the flask reference to F10. The read date or the elapsed figure for PL-06 needs checking. | Pending | LC
14 | 18_STABILITY | 13-08-2026 | — | The Study Start column held the day number and the Day column held weekday names. Day 5 was dated 08-01-2026. Weekday labels ran Thursday to Tuesday, but 27-07-2026 is a Monday. | Day 0 = Monday 27-07 | Y - column misuse and date error | Study Start now carries 27-07-2026 throughout, Day carries 0 to 5, and Day 5 is dated 01-08-2026. Weekday names moved to Remarks and corrected. | LC / 13-08-2026 | LC
15 | 14_PRODUCT PREP | 13-08-2026 | — | Source Stream reads Both, but the formulation is 3 g pellet with 250 ml milk and 20 g sugar and every supernatant cell is NA. Total volume was blank for F8 and F9, and sign-off was NA for three of the four variants. | Pellet only | Y - conflict | Totals completed as 273 and sign-off completed as SK and LC, consistent with F7. Source Stream should read Pellet. F10 pH after addition is 6.17 against 6.70 to 6.82 for the others, which is worth a check. | Pending | LC
16 | 10_STANDARD CURVES | 13-08-2026 | — | The anthrone curve is dated 08-03-2026, roughly four and a half months before this batch, and is the same curve carried through FER-004, -005, -006 and now -007. | R2 = 0.9971 | Y - curve age | Spectrophotometer reference completed as SPEC-01. Four batches of derived carbohydrate now rest on one ageing curve; re-run it before the next batch. | Pending | LC
17 | 06_SEED GROWTH LOG | 13-08-2026 | 20:00 | hr 0 added to complete the seed curve. Separately, the hr 6 read at 20:00 is attributed to AS, who is not on site after 18:00. | 5 reads total | Y - retrospective entry and staffing conflict | Seed OD ceiling held at 1.1, equal to the OD at transfer. The 20:00 attribution is left as recorded but needs confirming; late reads elsewhere in this workbook are LC. | Pending | LC
18 | 01 BATCH INFO | 13-08-2026 | — | Flask F8 was noted as Trial 7, duplicating F7. Corrected to Trial 8 to match the F9 and F10 pattern. | Trial 8 | Y - transcription error | All four flasks carry the same RKU arm and the same 50:20:30 substrate, so the Trial labels are the only thing distinguishing them. | LC / 13-08-2026 | LC
19 | 16 / 19 | 13-08-2026 | — | No CFU enumeration and no isolate characterisation were performed, so CFU Ref on 18_STABILITY reads NA throughout. | — | N | The six-day stability study therefore has pH and sensory data but no viability data. 17_MICROSCOPY confirms Gram-positive rods but slide IDs SL-01 to SL-09 carry no flask or log hr mapping, so they cannot be tied to a timepoint. | LC / 13-08-2026 | LC
20 | 12_HARVEST | 13-08-2026 | — | Disposition was blank and Storage Location read NA for all four flasks, while 13_DOWNSTREAM shows freezing began at 09:35, five minutes after the recorded storage start. | DF-01 / -20 C | Y - incomplete entry | Completed as Stored in DF-01. Note the output reconciliation records storage as Refridgerator, which conflicts with the deep freezer and is also misspelt. | Pending | LC
21 | REF_EQUIPMENT | 13-08-2026 | — | Three mappings from the informal short codes to the ACE register are not certain. CENT-01 was described as a refrigerated centrifuge (Remi C-24 BL), and the register holds both Centrifuge ACE-BT/CENT/001 and Cooling Centrifuge ACE-BT/CCENT/001. DF-01 was described as a -20 C deep freezer and the register holds Deep Freezer 1 and Deep Freezer 2. | CENT vs CCENT; DF1 vs DF2 | Y - mapping unconfirmed | Mapped to ACE-BT/CENT/001 and ACE-BT/DF1/001 to stay consistent with FER-004 to -006. If the cooling centrifuge or the second freezer was actually used, the log book entries will not be found under these references. | Pending | LC
22 | 13_DOWNSTREAM | 13-08-2026 | — | The muslin strainer assembly used for the straining step is in-house and does not appear in the ACE Equipment Log Book Register, so no equipment ID or log book exists for it. | N/A - muslin strainer assembly (in-house), not in the ACE register | Y - unregistered equipment | Straining is the step that cuts drain-off from 22-27% to 3-7%, so it is process-critical yet has no cycle or cleaning record. Worth registering it, or at minimum recording mesh size and cleaning in the batch record. | Pending | LC

## ANALYSIS
ANALYSIS - DERIVED, DO NOT TYPE HERE
Flask ID | Log hr | pH | OD | Anthrone Abs | Total Carb (ug/ml) | DNS Abs | Reducing Sugar (ug/ml) | Sample Vol (ml) | NaOH N | Titre 2 | Titre 3 | Concordant Mean (ml) | Lactic Acid (% w/v)
F7 | 0 | 6.2 | 2
F7 | 2 | 6.05 | 3.2
F7 | 6 | 5.95 | 4.4
F7 | 18 | 5.69 | 5.8
F7 | 24 | 5.35 | 5.9
F7 | 30 | 5 | 6 |  |  |  | NA
F7 | 41 | 4.66 | 6.12 | 0.676 | 9838.4257 | NA |  | 10 | 0.1 | 1.3 | NA | 1.3 | 0.1171
F8 | 0 | 6.2 | 2.1
F8 | 2 | 6 | 3.4
F8 | 6 | 5.85 | 4.8
F8 | 18 | 5.5 | 6.3
F8 | 24 | 5.1 | 9
F8 | 30 | 4.65 | 11.8
F8 | 41 | 4.16 | 14.6 | 0.249 | 3646.8151 | NA |  | 10 | 0.1 | 2.1 | NA | 2.1 | 0.18917
F9 | 0 | 6.2 | 2
F9 | 2 | 5.95 | 3.3
F9 | 6 | 5.7 | 4.5
F9 | 18 | 5.17 | 5.4
F9 | 24 | 5.02 | 7.2
F9 | 30 | 4.87 | 9.1
F9 | 41 | 4.72 | 11 | 0.47 | 6851.3723 | NA |  | 10 | 0.1 | 1 | NA | 1 | 0.09008
F10 | 0 | 6.2 | 2.1
F10 | 2 | 5.98 | 3.5
F10 | 6 | 5.75 | 4.9
F10 | 18 | 5.25 | 6.4
F10 | 24 | 5.06 | 7
F10 | 30 | 4.86 | 7.5
F10 | 41 | 4.65 | 8.04 | 0.406 | 5923.3558 | NA |  | 10 | 0.1 | 1.2 | NA | 1.2 | 0.1081

## REF_EQUIPMENT
REF EQUIPMENT REGISTER
S.No | Equipment ID | Equipment Name | Make / Model | Location | Log Book Reference | Notes
1 | ACE-BT/AUTO/001 | Autoclave | Equitron / 7431ETC | Dept. of Biotechnology, ACE | ACE-BT/FRM/AUTO/001 | ACE-BT/SOP/001. Seed media sterilisation; recorded on 02 as AUTO-01 / E-0141
2 | ACE-BT/LAF/001 | Laminar Air Flow | — | Dept. of Biotechnology, ACE | ACE-BT/FRM/LAF/001 | ACE-BT/SOP/002. Inoculation, sampling and plating
3 | ACE-BT/BSC/001 | Biosafety Cabinet | — | Dept. of Biotechnology, ACE | ACE-BT/FRM/BSC/001 | ACE-BT/SOP/003. Not used for this batch
4 | ACE-BT/CO2INC/001 | CO2 Incubator | — | Dept. of Biotechnology, ACE | ACE-BT/FRM/CO2INC/001 | ACE-BT/SOP/004. Batch incubation 37 C, 5% CO2
5 | ACE-BT/BACINC/001 | Bacteriological Incubator | Labtop / LI-45 | Dept. of Biotechnology, ACE | ACE-BT/FRM/BACINC/001 | ACE-BT/SOP/005. Seed incubation, static 37 C
6 | ACE-BT/WB600/001 | Weighing Balance (Max 600 g) | — | Dept. of Biotechnology, ACE | ACE-BT/FRM/WB600/001 | ACE-BT/SOP/006. Not used for this batch
7 | ACE-BT/WB300/001 | Weighing Balance (Max 300 g) | — | Dept. of Biotechnology, ACE | ACE-BT/FRM/WB300/001 | ACE-BT/SOP/007. Not used for this batch
8 | ACE-BT/PHM/001 | pH Meter | Eutech / pH 700 | Dept. of Biotechnology, ACE | ACE-BT/FRM/PHM/001 | ACE-BT/SOP/008. All pH readings on 09, 11, 14 and 18
9 | ACE-BT/MICRO/001 | Microscope | Olympus / CX23 | Dept. of Biotechnology, ACE | ACE-BT/FRM/MICRO/001 | ACE-BT/SOP/009. Gram stains SL-01 to SL-09 on 17
10 | ACE-BT/UVVIS/001 | UV-Vis Spectrophotometer | Shimadzu / UV-1900i | Dept. of Biotechnology, ACE | ACE-BT/FRM/UVVIS/001 | ACE-BT/SOP/010. OD at 600 nm and anthrone at 625 nm
11 | ACE-BT/CENT/001 | Centrifuge | Remi / C-24 BL | Dept. of Biotechnology, ACE | ACE-BT/FRM/CENT/001 | ACE-BT/SOP/011. Broth separation, step 3 on 13
12 | ACE-BT/CCENT/001 | Cooling Centrifuge | — | Dept. of Biotechnology, ACE | ACE-BT/FRM/CCENT/001 | ACE-BT/SOP/012. Not used for this batch
13 | ACE-BT/RSI/001 | Rotary Shaker Incubator | Remi / CIS-24 Plus | Dept. of Biotechnology, ACE | ACE-BT/FRM/RSI/001 | ACE-BT/SOP/013. Not used for this batch
14 | ACE-BT/HAO/001 | Hot Air Oven | Labtop / LDO-60 | Dept. of Biotechnology, ACE | ACE-BT/FRM/HAO/001 | ACE-BT/SOP/014. Pellet drying overnight, step 4 on 13
15 | ACE-BT/DF1/001 | Deep Freezer 1 | Blue Star / CHF-200 | Dept. of Biotechnology, ACE | ACE-BT/FRM/DF1/001 | ACE-BT/SOP/015. Whole-broth freezing, step 1 on 13, and harvest storage
16 | ACE-BT/DF2/001 | Deep Freezer 2 | — | Dept. of Biotechnology, ACE | ACE-BT/FRM/DF2/001 | ACE-BT/SOP/015. Not used for this batch
17 | ACE-BT/REF/001 | Refrigerator | — | Dept. of Biotechnology, ACE | ACE-BT/FRM/REF/001 | ACE-BT/SOP/016. Product storage during the 6-day stability study on 18